## Sheet1
DECC Revision 25 July 2013 D13/887681
NEC Gas Supply Emergency Status | Oil and Gas Field Operators | Oil Terminal Operators (UICG) | Gas Terminal Operators (UICG) | Terminal Group Leaders (TGL) |  | Shippers | DECC/ Upstream Joint Response Team (UJRT) |  | DECC Alert Status | National Grid (NG) |  |  | Network Emergency Coordinator (NEC) | NEC Gas Supply Emergency Status | Notes
Pre-Declaration of Emergency By NEC | [13 empty] | Pre-Declaration of Emergency By NEC
| Notifify Terminal Operator of production losses of significant incidents-10mcm or above (Notes 1 & 2) | Notifify DECC Security of Supply Team of threat or major production loss (Notes 1 & 2) |  |  |  |  | DECC Notified of significant production loss (10 mcm or more). During office hours: Tel: 0300 068 5130, or out-of-hours BIS: Tel : 0207 215 3234/3505 | [7 empty] | UICG = Upstream Industry Coordination Group OCM = On-day Commodity Market
Note 1: Threats or incidents may also be reported to the DECC from other sources, such as the Police, Security Service, Civil Contingencies Secretariat.
|  |  | Notify NG of gas supply loss (Notes 1 & 2) | [6 empty] | Assess supply and demand situation and notify DECC of potential imbalance (Note 3)
If serious
Lower the Gas Deficit Warning (GDW) Trigger Levels (Note 3)
Market responds through ususal process of supply and demand
[7 empty] | Issue a Gas Deficit Warning (GDW) (Note 3) |  |  | Ask for DECC approval for a Gas Availability Status (GAS) Report request (Note 3)
Note 2: Refer to Guidance Notes for Terminal Operators: Oil and Gas Supply Disruptions/Guidance Notes for Field Operators: Oil and Gas Incidents, for guidance on reporting incidents. https://www.gov.uk/preparing-for-and-responding-to-energy-emergencies#upstream-oil-and-gas
DECC Upstream Rota Sector Officer (RSO) agrees for Gas Availability Status (GAS) Report to be requested from gas terminal operators. Declare BLACK Status (at least) if not done before (Notes 3 & 4)
Request Gas Availability Status (GAS) Report with DECC endorsement
Note 3: These actions would normally be undertaken at WHITE Status, but could be BLACK, AMBER or even RED Status for sudden events.
| Provide information to gas terminal operators on gas production availability |  | Complete Gas Availability Status (GAS) Report and issue to DECC and NG
Note 4: DECC approves NG's request for Operators to complete a Gas Availability Status (GAS) Report (see Annex A) for any situation which has the potential to threaten gas or electricity supply security. This will always precede the request for Upstream Oil and Gas Situation Reports (see Annex B).
[7 empty] | Review suppy and demand situation with NG and assess implications (Note 4 & 5) |  |  | Review gas availability and respond to the DECC on the supply/demand situation (Note 9)
Note 5: If deemed unnecessary to activate the UJRT at this stage, DECC will monitor situation until it returns to normal (WHITE Status).
[7 empty] | Activate UJRT. (Notes 6 & 7) | [7 empty] | Note 6: These actions would first be undertaken at BLACK Status for smouldering events, but could be AMBER or even RED Status for sudden events. Further SITREPS and telecons will be sought throughout the duration of the emergency
Trigger
| Provide information to terminal operators on production availability (Note 6 & 8) | Request and collate information from field operators and submit situation report (SITREP) to UJRT and TGL (Note 6) | Request and collate information from field operators and submit situation report (SITREP) to UJRT, TGL and NG (Notes 6 & 8) | Mobilise upon notification of BLACK Status and JRT request for situation reports (SITREPS) (Note 6) |  |  | Contact terminal operators to request situation reports (SITREPS) (Notes 6 & 8) | [7 empty] | Note 7: U JRT remains activated until end of emergency.
|  |  |  | Prepare aggregated situation reports and teleconference with UJRT and NG (Note 8 & 11) |  |  | Arrange teleconference with TGLs and NG to assess situation (Note 6 & 11) |  |  | Teleconference with JRT and TGLs to assess situation (Notes 6 & 9) |  |  |  |  | Note 8: This will include requesting information on gas maximisation.
[11 empty] | If serious |  |  |  | Note 9: Information is not to be disclosed beyond NG System Operations.
Stage 1 | [6 empty] | As situation changes request further situation reports, as appropriate, via TGLs (Note 11) | [5 empty] | Declare Potential Gas Deficit Emergency and invoke Stage 1 procedures (Note 10) | Stage 1 | Note 10: Refer to the NG Network Gas Supply Emergency Procedures for a detailed description of the emergency stages.
Note 11: All subsequent DECC communication with terminal operators will be via the Terminal Group Leaders. The number and timings of Telecons shown on this flowchart are indicative rather than proscriptive
[6 empty] | Throughout the emergency, UJRT to consider whether Directions under an Oider in Council (OIC ) may be required. If "Yes", preparatory work with OGDs to begin immediately (Note 15) | [6 empty] | Options: Relax gas specification Emergency interruption of large loads
[6 empty] | Implement Network Distribution Utilisation decision |  |  |  | Options: NTS Linepack
Options: Distribution Network Utilisation *Distribution Network Storage * Emergency Interuption
Implement NTS Linepack decision
Note 12: Producers, shippers, interconnector operators and secondary system operators will be notified.
[6 empty] | Shippers increase nominations, where additional gas is available |  |  |  | Seek additional beach gas under emergency gas specification (Note 12)
Note13: If information from a Telecon demonstrates that the situation improved, the DECC alert level may remain at/revert to BLACK. It it deteriorates or remains unchanged, the DECC alert level may rise to/stay at RED
| Produce emergency specification gas, where available |  | Deliver emergency specification gas, where available | Teleconference with JRT and NG to reassess supply/ demand position |  |  | Teleconference with TGL and NG to reassess supply/ demand position (JRT) (Note 13 & 14) |  |  | Teleconference with JRT and TGL to reassess supply/ demand position (Note 9) |  | Stage 1 actions successful
Stage 1 actions unsuccessful
[12 empty] | Gas deficit remains |  |  | Note 14: DECC will declare RED Alert Status upon notification by NEC of an Imminent Gas Deficit Emergency.
Stage 2 | [12 empty] | Declare Imminent Gas Deficit Emergency (Note 14) | Stage 2
Invoke Stage 2 measures and suspend National Grid Gas pls participation in OCM commercial arrangements (Note 15)
[7 empty] | Teleconference with TGL and NG and assess effectiveness of action taken (Note 14) |  |  | Teleconference with JRT and TGL and assess effectiveness of action taken (Note 9)
Note 15: An Order in Council (OIC) raised under the Energy Act 1976 requires extensive consultation. Because of the timescales involved, the requirement for and scope of, any potential OIC should be under consideration by the UJRT from NEC's declaration of a Potential Gas Deficit Emergency, if not before. However, because of the serious implications of issuing an OIC, one would only be implemented if NEC had declared an Imminent or extant Gas Deficit Emergency (Stage 2 or Stage 3). Directions under an OIC are only applicable within UK and do not apply to Norwegian or other European gas producers/suppliers.
[6 empty] | Directions/OIC Required. Issue Directions under an Order in Council to terminal and field operators and partners (Note 15) |  | Directions and Order in Council not required
[6 empty] | Shippers increase nominations beyond contractual maximum, where additional gas is available |  |  |  | Request shippers maximise supplies (Note 17)
Note 16: If the cause of the emergency is a Critical Transportation Constraint, the OCM will remain operational at stage 2 and beyond, and there would not normally be a requirement to maximise beach gas production.
| Implement Directions/ gas maximisation and liaise with terminal operator (Note 18) | Implement Directions and liaise with terminal operator | Implement Directions/ gas maximisation and liaise with TGL on action taken (Note 18)
Note 17: Terminal operators, producers, shippers, interconnector operators and secondary system operators will be notified.
|  |  |  | Teleconference with JRT and NG and assess effectiveness of action taken |  |  | Teleconference with TGL and NG and assess effectiveness of action taken (Note 13) |  |  | Teleconference with JRT and TGL and assess effectiveness of action taken (Note 9) |  | Supply maximisation successful
Note 18: Producers may elect to freeflow gas to maximimum in the absence of nominations.
Supply Maximisation unsuccessful
Shed firm load (Note 19)
|  |  |  | Teleconference with JRT and NG |  |  | Teleconference with TGL and NG and assess effectiveness of action taken (Note 13) |  |  | Teleconference with JRT and TGL and assess effectiveness of action taken (Note 9) |  | Firm Load Shedding successful |  |  | Note 19: Action taken by National Grid and/or independent networks.
Firm Load Shedding unsuccessful
Stage 2 actions unsuccessful
Stage 3 |  |  |  | Teleconference with JRT and NG |  |  | Teleconference with TGL and NG and assess effectiveness of action taken |  |  | Teleconference with JRT and TGL and assess effectiveness of action taken (Note 9) |  |  | Invoke Stage 3 Gas Deficit Emergency (Note 12) | Stage 3
Allocate & Isolate systems (Note 12, 19)
|  |  |  | Teleconference with JRT and NG |  |  | Teleconference with TGL and NG and assess effectiveness of action taken (Note 13) |  |  | Teleconference with JRT and TGL and assess effectiveness of action taken (Note 9)
System isolation & allocation successful
Stage 4 | [12 empty] | Declare end of emergency (Stage 4) (Notes 20 & 21) | Stage 4 | Note 20: NEC may declare end of emergency at any stage.
Note 21: NEC to notify National Grid, DECC and terminal operators of any potential consequences which may follow the emergency event during Stage 4 Restoration.
Note 22: UJRT monitors the progress of action to restore supply. Deescalate DECC Alert Status from BLACK to WHITE. Assess how long emergency powers are required (if they have been invoked)
|  |  |  | TGL's stand down (Note 23) |  |  | DECC Monitors restoration of system until return to WHITE Status (Note 22) |  |  | System restoration and notification to JRT and industry (Note 19) |  |  |  |  | Note 23: When gas supplies have been restored, WHITE Alert Status declarred by DECC UJRT and the SITREP incident closed, UIGC and TGLs may be stood down
NEC Gas Supply Emergency Status | Oil and Gas Field Operators | Oil Terminal Operators (UICG) | Gas Terminal Operators (UICG) | Terminal Group Leaders (TGL) |  | Shippers | DECC/ Joint Response Team (JRT) |  | Sugges-ted DECC Alert Status | National Grid (NG) |  |  | Network Emergency Coordinator (NEC) | NEC Gas Supply Emergency Status | Notes